[image: image1.jpg]landscape




7800 E. Michigan Ave.

Kalamazoo, Michigan  49048

Phone: (800) 521-2546

Fax: (269) 381-3455

www.landscapeforms.com
specify@landscapeforms.com
Wellspring Bench

Product Guide Specification

Specifier Notes:  This product guide specification is written according to the Construction Specifications Institute (CSI) 3-Part Format, including MasterFormat, SectionFormat, and PageFormat, as described in The Project Resource Manual—CSI Manual of Practice, Fifth Edition.
The section must be carefully reviewed and edited by the Architect to meet the requirements of the project and local building code.  Coordinate this section with other specification sections and the Drawings.  Delete all “Specifier Notes” after editing this section.

Section numbers are from MasterFormat 2010 Edition.
SECTION 12 93 43.13       BENCHES
Specifier Notes:  This section covers Landscape Forms, Inc. “Wellspring TM” benches.  Consult Landscape Forms, Inc. for assistance in editing this section for the specific application.
PART 1
GENERAL

1.1
SECTION INCLUDES
A.
Benches.
1.2
SUBMITTALS
A.
Product Data: Submit manufacturer’s product data, storage and handling requirements and recommendations, installation methods and available colors, styles, patterns and textures. 

B.
Shop Drawings: Submit manufacturer’s shop drawings, including plans and elevations, indicating overall dimensions.
C.
Samples:  Submit manufacturer’s samples of materials, finishes, and colors.
D.
Warranty: Manufacturer’s standard warranty.
1.3
QUALITY ASSURANCE
A.
Manufacturer’s Qualifications: Manufacturer regularly engaged in manufacture of site furnishings since 1969.
B.
Product Support: Products are supported with complete engineering drawings and design patents.

C.
Base Worth: An installed base of products worth in excess of one hundred million dollars.

D.
Assets: Excess of twenty million dollars in assets.

E.
Production: Orders are filled within a 40-day schedule.

F.
Facility Operator: Welders and machine operators are certified.
1.4
DELIVERY, STORAGE, AND HANDLING
A.
Delivery:  Deliver materials to site in manufacturer’s original, unopened containers and packaging, with labels clearly identifying product name and manufacturer.

B.
Storage: Store materials in clean, dry area in accordance with manufacturer’s instructions.  Keep materials in manufacturer’s original, unopened containers and packaging until installation.
C.
Handling:  Protect materials and finish during handling and installation to prevent damage.

1.5
WARRANTY
A.
Warranty Information:  
-Products will be free from defects in material and/or workmanship for a period of three years from the date of invoice.

-The warranty does not apply to damage resulting from accident, alteration, misuse, tampering, negligence, or abuse.

- Landscape Forms, Inc. shall, at its option, repair, replace, or refund the purchase price of any items found defective upon inspection by an authorized Landscape Forms service representative.
-Purchasers should be aware that normal use of these high quality products can result in superficial damage affecting the finish.  Scratches, nicks, and dents are to be considered normal wear and tear, and are not the responsibility of the manufacturer.
PART 2
PRODUCTS

2.1
MANUFACTURER
A.
Landscape Forms, Inc., 7800 E. Michigan Ave, Kalamazoo, Michigan 49048.                       Phone: (800) 521-2546. Fax (269) 381-3455.  Website www.landscapeforms.com                       E-mail:  specify@landscapeforms.com
2.2
BENCHES
A.
“Wellspring” Benches
Specifier Notes:  Specify bench style.
B.
Style: 

1.
Seat Height: 
a.
17-1/2 inches.

-Armrest Height: 28-3/8 inches.

-Overall Height: 34-1/2 inches.

-Overall Width: 25-5/8 inches.

-Foot Print: 23-1/8 inches.

b.
19 inches.

-Armrest Height: 29-7/8 inches.

-Overall Height: 36 inches.

-Overall Width: 25-5/8 inches.

-Foot Print: 23-3/8 inches.
Specifier Notes:  Specify bench length.  

2.
Bench Length:

a.
49-1/2 inches. 
b.
73-1/2 inches.

Specifier Notes:  Optional center arm rest is available on 49-1/2” and 73-1/2” benches.  Delete if not applicable.

3.
Arm option:
a.
End arms 

b.
End arm and center arm (49-1/2” length only)

c.
End arm and two intermediate arms (73-1/2” length only)

Specifier Notes:  Specify mounting style.

4.
Mounting:

a.
Freestanding 

b.
Surface mount (anchoring hardware not included)

2.3
MATERIALS
A.
Benches: All wood construction assembled with glued mortise and tenon or doweled joints.  All exposed edges are eased.


B.
Glides: Nylon tack style.

C.
Wood: Teak – Solid stock, select furniture grade hardwood, unfinished.

D.
Surface Mount Bracket: Type 304 stainless steel with 3/8” diameter hole for anchor.
2.4
RECYCLED CONTENT
A.
Wellspring Benches:     Recyclable:  100%.  
2.5
FABRICATION
A.
Shop assembled benches.
2.6
FINISHES
A.
Finish on Wood: Teak - unfinished
PART 3
EXECUTION

3.1
EXAMINATION
A.
Examine areas to receive benches.
B.
Notify Architect of conditions that would adversely affect installation or subsequent use.
C.
Do not begin installation until unacceptable conditions are corrected.

3.2
INSTALLATION
A.
Install benches in accordance with manufacturer’s instructions at locations indicated on the Drawings.

B.
Install benches level.

C.
Anchor benches securely in place.

3.3
ADJUSTING
A.
Finish Damage: Repair minor damages to finish in accordance with manufacturer’s instructions and as approved by Architect.
B.
Component Damage: Remove and replace damaged components that cannot be successfully repaired as determined by Architect.

3.4
CLEANING
A.
Clean benches promptly after installation in accordance with manufacturer’s instructions.

B.
Do not use harsh cleaning materials or methods that could damage finish.

3.5
PROTECTION
A.
Protect installed benches to ensure that, except for normal weathering, benches will be without damage or deterioration at time of Substantial Completion.
END OF SECTION


Landscape Forms
Wellspring Benches

Page 3 of 3
09/02/2022

